{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["废水排放","无组织"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"废水排放","index":0,"n_rows":33,"n_cols":22,"rows_kept":33,"merged":[[1,0,32,0],[1,1,17,1],[18,1,32,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","受纳水体","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","流量(m³/s)","水温(°C)","生产负荷(%)","进口浓度","排放浓度","上限","下限","单位","是否超标","超标倍数","备注","是否有评价限值"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(1)","悬浮物","2022-01-10",null,"","","","9","10","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(1)","色度","2022-01-10",null,"","","","10","30","","倍","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","阴离子表面活性剂（LAS）","2022-01-10",null,"","","","<0.05","0.3","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","石油类","2022-01-10",null,"","","","<0.06","0.5","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","总磷（以P计）","2022-01-10",null,"","","","0.15","0.3","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","六价铬","2022-01-10",null,"","","","<0.004","0.05","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(1)","pH值","2022-01-10",null,"","","","7.4","9","6","无量纲","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","镉","2022-01-10",null,"","","","<0.00005","0.005","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","铅","2022-01-10",null,"","","","<0.00009","0.05","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","化学需氧量","2022-01-10",null,"","","","19","30","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(1)","动植物油","2022-01-10",null,"","","","<0.06","1","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(1)","总氮（以N计）","2022-01-10",null,"","","","2.06","15","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(1)","粪大肠菌群数","2022-01-10",null,"","","","<10","1000","","个/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","五日生化需氧量","2022-01-10",null,"","","","5.0","6","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","氨氮（NH3-N）","2022-01-10",null,"","","","0.506","1.5","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","砷","2022-01-10",null,"","","","0.00088","0.1","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","河源市广业环保有限公司东源县城生活污水处理厂","水环境","污水处理及其再生利用","","地表水环境质量标准(GB3838-2002)","表1地表水环境质量标准基本项目标准限值,四类,通用","废水处理设施出水口(1)","汞","2022-01-10",null,"","","","<0.00004","0.001","","mg/L","否","","","是"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","悬浮物","2022-02-16",null,"","","","13","30","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","总铬","2022-02-16",null,"","","","0.021","0.1","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","总汞","2022-02-16",null,"","","","<0.00004","0.001","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","总磷（以P计）","2022-02-16",null,"","","","0.02","3","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","总砷","2022-02-16",null,"","","","<0.0003","0.1","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","总铅","2022-02-16",null,"","","","<0.05","0.1","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","色度","2022-02-16",null,"","","","<2","40","","倍","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","氨氮（NH3-N）","2022-02-16",null,"","","","3.87","25","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","粪大肠菌群数","2022-02-16",null,"","","","8000","10000","","个/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","总氮（以N计）","2022-02-16",null,"","","","25.7","40","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","五日生化需氧量","2022-02-16",null,"","","","2.6","30","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","化学需氧量","2022-02-16",null,"","","","11","100","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","总镉","2022-02-16",null,"","","","<0.01","0.01","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","处理设施出水口(DW001)","六价铬","2022-02-16",null,"","","","<0.004","0.05","","mg/L","否","","不外排,用于浇灌场区绿化。","否"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","","不评价(/)","废水","处理设施出水口(DW001)","pH值","2022-02-16",null,"","","","6.8","","","无量纲","否","","不外排,用于浇灌场区绿化。","否"]

{"sheet":"无组织","index":1,"n_rows":5,"n_cols":20,"rows_kept":5,"merged":[[1,0,4,0],[1,1,4,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","风向","风速（m/s）","温度(℃)","压力（kPa）","排放浓度","上限","下限","单位","是否超标","超标倍数","备注"]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值,直接排放","西侧场界外1米3#","甲烷","2022-02-16","","","","","0.000289","0.1","","%","否","",""]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值,直接排放","北侧场界外1米4#","甲烷","2022-02-16","","","","","0.000208","0.1","","%","否","",""]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值,直接排放","南侧场界外1米2#","甲烷","2022-02-16","","","","","0.000207","0.1","","%","否","",""]
["2022年东源县第一季度重点企业名录","东源县仙塘镇生活垃圾卫生填埋场","土壤环境","环境卫生管理","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值,直接排放","东侧场界外1米1#","甲烷","2022-02-16","","","","","0.000182","0.1","","%","否","",""]