{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["废水排放","无组织","周边环境"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"废水排放","index":0,"n_rows":35,"n_cols":22,"rows_kept":35,"merged":[[1,0,34,0],[1,1,19,1],[20,1,34,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","受纳水体","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","流量(m³/s)","水温(°C)","生产负荷(%)","进口浓度","排放浓度","上限","下限","单位","是否超标","超标倍数","备注","是否有评价限值"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","六价铬","2022-02-18",null,"","","","<0.004","0.05","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表2）部分一类污染物最高允许排放浓度（日均值）","出水口(WS-00003)","总汞","2022-02-18",null,"","","","<0.00004","0.001","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","总镉","2022-02-18",null,"","","","<0.005","0.01","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","动植物油","2022-02-18",null,"","","","0.08","1","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","总氮（以N计）","2022-02-18",null,"","","","0.27","15","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","总砷","2022-02-18",null,"","","","<0.0003","0.1","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","悬浮物","2022-02-18",null,"","","","5.0","10","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","氨氮（NH3-N）","2022-02-18",null,"15.9","","","0.129","5;8","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","总铬","2022-02-18",null,"","","","<0.03","0.1","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","总铅","2022-02-18",null,"","","","<0.07","0.1","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","pH值","2022-02-18",null,"","","","<6.9","9","6","无量纲","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","烷基汞","2022-02-18",null,"","","","<0.00003","不得检出","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","广东省水污染排放限值标准(DB44/26—2001)","表4   第二类污染物最高允许排放浓度 (第二时段),一级标准,城镇二级污水处理厂","出水口(WS-00003)","化学需氧量","2022-02-18",null,"","","","17","40","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","五日生化需氧量","2022-02-18",null,"","","","2.6","10","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,2006年1月1日后建设","出水口(WS-00003)","总磷（以P计）","2022-02-18",null,"","","","0.07","0.5","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","粪大肠菌群数","2022-02-18",null,"","","","<10","1000","","个/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","石油类","2022-02-18",null,"","","","<0.06","1","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","阴离子表面活性剂（LAS）","2022-02-18",null,"","","","0.070","0.5","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","河源市广业环保有限公司和平县县城分公司","水环境","水污染治理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","出水口(WS-00003)","色度","2022-02-18",null,"","","","4","30","","倍","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","六价铬","2022-02-17",null,"","","","<0.004","0.05","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","化学需氧量","2022-02-17",null,"","","","37","100","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","粪大肠菌群数","2022-02-17",null,"","","","<10","10000","","个/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","氨氮（NH3-N）","2022-02-17",null,"","","","7.64","25","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","总磷（以P计）","2022-02-17",null,"","","","0.09","3","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","五日生化需氧量","2022-02-17",null,"","","","9.3","30","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","悬浮物","2022-02-17",null,"","","","2","30","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","色度","2022-02-17",null,"","","","4","40","","倍","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","总铬","2022-02-17",null,"","","","<0.03","0.1","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","总镉","2022-02-17",null,"","","","<0.005","0.01","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","总汞","2022-02-17",null,"","","","0.0002","0.001","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","总铅","2022-02-17",null,"","","","<0.07","0.1","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","不评价的项目（新疆）(DB001XJ)","废水项目","废水处理设施排放口(DW001)","pH值","2022-02-17",null,"","","","7.9","","","无量纲","否","","","否"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","总氮（以N计）","2022-02-17",null,"","","","13.2","40","","mg/L","否","","","是"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口(DW001)","总砷","2022-02-17",null,"","","","0.0021","0.1","","mg/L","否","","","是"]

{"sheet":"无组织","index":1,"n_rows":9,"n_cols":20,"rows_kept":9,"merged":[[1,0,8,0],[1,1,8,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","风向","风速（m/s）","温度(℃)","压力（kPa）","排放浓度","上限","下限","单位","是否超标","超标倍数","备注"]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废气项目","填埋区西南2#","甲烷","2022-02-17","","","","","0.0002","","","%","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","恶臭污染物排放标准(GB14554-93)","（表1）恶臭污染物厂界标准值,二级,新扩改建","填埋区西南2#","臭气浓度","2022-02-17","","","","","12","20","","无量纲","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","恶臭污染物排放标准(GB14554-93)","（表1）恶臭污染物厂界标准值,二级,新扩改建","填埋区正南1#","臭气浓度","2022-02-17","","","","","0.0002","20","","无量纲","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废气项目","填埋区正南1#","甲烷","2022-02-17","","","","","10","","","%","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废气项目","填埋区东南3#","甲烷","2022-02-17","","","","","0.0002","","","%","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","恶臭污染物排放标准(GB14554-93)","（表1）恶臭污染物厂界标准值,二级,新扩改建","填埋区东南3#","臭气浓度","2022-02-17","","","","","14","20","","无量纲","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","恶臭污染物排放标准(GB14554-93)","（表1）恶臭污染物厂界标准值,二级,新扩改建","填埋区东北4#","臭气浓度","2022-02-17","","","","","13","20","","无量纲","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废气项目","填埋区东北4#","甲烷","2022-02-17","","","","","0.0002","","","%","否","",""]

{"sheet":"周边环境","index":2,"n_rows":23,"n_cols":35,"rows_kept":23,"merged":[[0,0,1,0],[0,1,1,1],[0,2,1,2],[0,3,1,3],[0,4,1,4],[0,5,1,5],[0,6,1,6],[0,7,1,7],[0,8,1,8],[0,9,0,13],[0,14,0,17],[0,18,0,19],[0,20,0,24],[0,25,0,26],[0,27,1,27],[0,28,1,28],[0,29,1,29],[0,30,1,30],[0,31,1,31],[0,32,1,32],[0,33,1,33],[0,34,1,34],[2,0,22,0],[2,1,22,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","周边环境-环境空气","周边环境-环境空气","周边环境-环境空气","周边环境-环境空气","周边环境-环境空气","周边环境-地表水","周边环境-地表水","周边环境-地表水","周边环境-地表水","周边环境-地下水","周边环境-地下水","周边环境-土壤","周边环境-土壤","周边环境-土壤","周边环境-土壤","周边环境-土壤","周边环境-噪声","周边环境-噪声","折算/浓度/昼间","夜间","上限","下限","单位","是否超标","超标倍数","备注"]
["","","","","","","","","","湿度(%)","气温（℃","气压(kPa)","风速(m/s)","风向","流量(m³/s)","感官描述","有无漂浮物","有无油","井深（m）","水位（m）","采样深度(m)","土壤颜色","土壤水分(%)","利用情况","土壤pH值","声源","风速(m/s)","","","","","","","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","pH值","2022-02-17","","","","","","","","","","","","","","","","","","","7.3","","8.5","6.5","无量纲","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","","","监视井","高锰酸盐指数","2022-02-17","","","","","","","","","","","","","","","","","","","1.56","","","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","汞","2022-02-17","","","","","","","","","","","","","","","","","","","<0.00004","","0.001","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","氯化物","2022-02-17","","","","","","","","","","","","","","","","","","","0.032","","250","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","氰化物","2022-02-17","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","亚硝酸盐","2022-02-17","","","","","","","","","","","","","","","","","","","<0.003","","1.00","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","溶解性总固体","2022-02-17","","","","","","","","","","","","","","","","","","","185","","1000","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","铅","2022-02-17","","","","","","","","","","","","","","","","","","","<0.00009","","0.01","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","铬（六价）","2022-02-17","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","镉","2022-02-17","","","","","","","","","","","","","","","","","","","<0.00005","","0.005","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","氨氮","2022-02-17","","","","","","","","","","","","","","","","","","","0.088","","0.5","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","硝酸盐（以N计）","2022-02-17","","","","","","","","","","","","","","","","","","","<0.005","","20.0","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","铁","2022-02-17","","","","","","","","","","","","","","","","","","","<0.00082","","0.3","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","锌","2022-02-17","","","","","","","","","","","","","","","","","","","<0.00067","","1.0","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","总硬度","2022-02-17","","","","","","","","","","","","","","","","","","","67.2","","450","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","砷","2022-02-17","","","","","","","","","","","","","","","","","","","<0.0003","","0.01","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","锰","2022-02-17","","","","","","","","","","","","","","","","","","","<0.00012","","0.10","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废水项目","监视井","粪大肠菌群","2022-02-17","","","","","","","","","","","","","","","","","","","<10","","","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","氟化物","2022-02-17","","","","","","","","","","","","","","","","","","","<0.006","","1.0","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","挥发性酚类（以苯酚计）","2022-02-17","","","","","","","","","","","","","","","","","","","<0.0003","","0.002","","mg/L","否","",""]
["2022年和平县第一季度重点污染源监测","和平县弘润投资发展有限公司（和平县生活垃圾无害化处理场）","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","监视井","铜","2022-02-17","","","","","","","","","","","","","","","","","","","<0.00008","","1.00","","mg/L","否","",""]