{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["随机抽查公示"],"not_rendered":{"external_links":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"随机抽查公示","index":0,"n_rows":6,"n_cols":8,"rows_kept":6,"merged":[[0,0,2,7],[5,0,5,7]],"flags":["formulas_cached_only"]}
["河源市2017年第2季度双随机抽查情况公示表"]
[]
[]
["序号","企业名称","企业类型","检查时间","检查情况","检查结果","处理结果","备注"]
[1,"河源市正博实业有限公司（七寨生活垃圾为生填埋场）","重点排污单位","2017-06-26","1、治污设施运行情况:已检查，污水处理厂生化系统因菌种死亡无法正常运行，启动应急措施停止了废水排放，正在开展抢修,2、污染物排放情况:已检查，停止排放废水,3、环评制度落实:已检查，未发现异常,4、“三同时”制度落实:已检查，未发现异常,5、排污许可证制度落实:已检查，未发现异常。","未发现违法行为","未发现违法行为","要求：1、制定有效抢修方案，尽快恢复污水厂正常运行，在未正常运行前不得排放废水；2、按照应急方案采取有效措施，确保垃圾渗滤液收集池水位在警戒线以下。"]
["导出时间:2017/6/27 15:57:40"]